**How to Obtain a Download for Your S9 PAP Device**

A close up of a device

Description generated with high confidence

Your device should look like this:

1. Make sure that the screen is on – if necessary, press and release the push dial to the right of the screen.
2. To the right of the screen is an info (“I”) button - press and release this
3. You will be on the Sleep Quality page – turn the push dial to change to the Sleep Report page
4. At the top of the report is the word “Period” – it should be set to 1 Month
   1. If the Period is not set to 1 Month, press and release the push dial twice to highlight the Period and turn the knob until it reads 1 Month, then press and release the push dial again
5. Please enter the information below:
   1. 1month:
      1. Enter Number/30 days greater than 4 hours=\_\_\_%
      2. Average usage Enter Number
      3. Hours used Enter Number
6. Reset the Period to 3 months by pressing and releasing the push dial twice to highlight the Period and turn the knob until it reads 3 Months, then pressing and releasing the push dial again
7. Please enter the information below:
   1. 3 months:
      1. Enter Number/90 days greater than 4 hours=\_\_\_%
      2. Average usage Enter Number
      3. Hours used Enter Number
8. Email this back to us or call us at 1-877-753-3742, ext. 2607 or ext. 2603.